# AI in Healthcare – Detailed Practical Manual

Program: B.Tech Mechatronics Engineering
Course: AI in Healthcare (MTRX3315)
This manual contains detailed theory, implementation explanation, applications, results, and conclusions for all eight practical experiments.

## P-1: ECG Monitoring System using AD8232 Sensor and Arduino

Aim:
To design and implement an ECG monitoring system using AD8232 sensor and Arduino for AI-based healthcare applications.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
The ECG monitoring system measures the electrical activity of the human heart. The AD8232 module is a low-power integrated signal conditioning block designed specifically for ECG and other biopotential measurements. Electrodes attached to the body capture tiny electrical impulses generated during heart activity. These signals are amplified, filtered, and processed before being displayed on the Arduino Serial Plotter. The ECG waveform consists of P wave, QRS complex, and T wave which indicate various cardiac functions.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Working:
The electrodes are connected to the patient’s body and attached to the AD8232 module. The module filters noise and amplifies the weak ECG signal. Arduino Uno reads the analog output and converts it into digital values using the ADC. The waveform is displayed on the Serial Plotter. Lead-off detection pins are used to detect loose electrodes.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Code:
The code initializes serial communication at 115200 baud rate. Analog ECG values are continuously sampled from pin A0. Lead-off pins are checked to ensure proper electrode contact. Multiple samples are averaged for noise reduction. Processed values are printed to the Serial Plotter for waveform visualization.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

AI and IoT:
AI algorithms can analyze ECG patterns for arrhythmia detection, heart attack prediction, and cardiac abnormality identification. IoT integration enables cloud-based remote monitoring, real-time alerts, and telemedicine applications.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Wearable health monitoring devices, ICU monitoring systems, fitness bands, smart hospitals, remote healthcare, and emergency cardiac monitoring systems.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The ECG monitoring system successfully captured and displayed heart electrical activity using the AD8232 sensor and Arduino Uno.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated real-time acquisition and visualization of ECG signals. The system provides an effective platform for AI-based healthcare and remote patient monitoring.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-2: GSR Sensor with Arduino Uno

Aim:
To interface a GSR sensor with Arduino Uno and measure skin conductivity changes.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
The GSR sensor measures changes in skin resistance caused by sweat gland activity. Emotional stress, fear, excitement, and physiological arousal increase sweat secretion which changes skin conductivity. The sensor converts conductivity variations into analog voltage signals.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Working:
Electrodes are attached to the fingers. The sensor detects resistance changes and outputs corresponding analog voltages. Arduino reads these signals and displays them on the Serial Monitor.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Code:
The Arduino code initializes analog input pins, reads GSR sensor values using analogRead(), processes the data, and prints stress-related values on the Serial Monitor.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Enhancements:
The system can be integrated with WiFi modules such as ESP8266 and cloud dashboards for remote monitoring and smartphone visualization.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Stress analysis, emotional monitoring, lie detection systems, wearable health devices, and psychological research.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The GSR system successfully measured conductivity changes corresponding to stress levels.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated practical stress monitoring using physiological signal analysis.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-3: EMG Sensor with Arduino Uno

Aim:
To interface an EMG sensor with Arduino Uno and monitor muscle activity.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
Electromyography measures electrical signals generated during muscle contraction. EMG sensors detect small voltage variations produced by skeletal muscles.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Working:
Electrodes attached to the muscles capture electrical signals. The EMG module amplifies and filters the signal before sending it to Arduino for visualization.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Code:
Arduino continuously reads analog EMG values and displays waveform data using the Serial Plotter. Signal filtering reduces electrical noise.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Waveform Analysis:
Higher amplitude waveforms indicate stronger muscle contractions while lower amplitudes indicate relaxed muscles.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Prosthetic control, rehabilitation robotics, sports science, gesture recognition, and biomedical diagnostics.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The EMG system successfully monitored muscle activity and displayed waveforms.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated real-time monitoring of muscle activity using EMG technology.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-4: Flex Sensor with Arduino Uno

Aim:
To interface a flex sensor with Arduino Uno.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
A flex sensor changes resistance when bent. Resistance increases with bending angle, allowing measurement of finger or joint movement.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Working:
The sensor is connected in a voltage divider circuit. Arduino measures voltage changes corresponding to bending movement.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Code:
The code reads analog values from the flex sensor and maps them to bend angles. The readings are displayed on the Serial Monitor.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Extensions:
The project can be extended for robotic hand control, sign language recognition, and VR gloves.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Gaming, robotics, wearable electronics, prosthetic fingers, rehabilitation systems, and motion capture.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The flex sensor successfully detected bending movement and angle variations.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated the usefulness of flex sensors in gesture-based control systems.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-5: GSR with Smartphone using WiFi

Aim:
To interface a GSR sensor with Arduino and display stress levels on a smartphone using WiFi communication.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
IoT-based stress monitoring systems use GSR sensors to monitor emotional arousal and transmit data wirelessly using ESP8266 or ESP32 modules.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Working:
The GSR sensor sends analog data to Arduino or ESP8266. WiFi modules upload data to cloud platforms or smartphone applications.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Code:
The code reads GSR values, connects to WiFi, and transmits stress data to cloud dashboards such as Arduino Cloud or Blynk.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Visualization:
Smartphone applications display stress levels, graphs, and notifications in real time.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Mental health monitoring, smart wearable devices, remote healthcare, and wellness tracking systems.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The system successfully displayed stress values wirelessly on a smartphone.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated IoT-enabled physiological monitoring using GSR sensors.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-6: CNN for MRI and CT Data

Aim:
To enhance medical image analysis using CNNs for MRI and CT scan classification.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
Convolutional Neural Networks automatically extract image features using convolution, pooling, and fully connected layers. CNNs are highly effective for medical image classification.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Development:
The process includes dataset preparation, preprocessing, normalization, model creation, training, validation, and testing.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Performance Improvement:
Accuracy can be improved using transfer learning, data augmentation, dropout layers, and hyperparameter optimization.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Tumor detection, organ segmentation, disease diagnosis, radiology assistance, and automated screening.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The CNN model successfully classified MRI and CT images with high accuracy.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated the effectiveness of deep learning in medical image analysis.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-7: Transfer Learning for Cancer Detection

Aim:
To implement transfer learning and pre-trained models for cancer detection.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
Transfer learning uses knowledge from pre-trained models such as MobileNet, VGG16, and ResNet to solve new classification problems.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Implementation:
A pre-trained model is loaded and fine-tuned using medical datasets. Final dense layers are modified according to the number of classes.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Advantages:
Transfer learning reduces training time, improves accuracy, and works effectively with limited medical datasets.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Breast cancer detection, skin cancer classification, tumor identification, and pathology analysis.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The transfer learning model achieved high classification accuracy.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment proved that pre-trained models significantly improve medical image classification performance.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

## P-8: AI-Based Vision-Control System for Surgical Robots and Intelligent Prosthetics

Aim:
To develop an AI-based vision-control system for surgical robots and intelligent prosthetics.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Theory:
Computer vision systems use cameras and AI algorithms to detect gestures, objects, and movement patterns. Deep learning models process visual data for robotic control.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Architecture:
The system includes camera input, preprocessing, feature extraction, AI classification, and robotic actuation.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

AI Benefits:
AI improves precision, reduces surgical errors, assists robotic movement, and enables intelligent prosthetic control.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Applications:
Robotic surgery systems, intelligent prosthetic hands, rehabilitation robotics, gesture-controlled devices, and healthcare automation.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Result:
The vision-control system successfully detected gestures and controlled intelligent systems.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.

Conclusion:
The experiment demonstrated the integration of AI, computer vision, and robotics in healthcare applications.

This practical provides important understanding of biomedical instrumentation, signal processing, artificial intelligence integration, and real-time healthcare monitoring systems. The experiment also demonstrates how modern AI-based healthcare technologies can improve diagnosis, patient safety, automation, and remote medical assistance in hospitals and smart healthcare environments.